## CFW (MES)
Program Name | COVID Frontline Worker (Medical Equipment Support)
Program ID | HSS/Q5604 (v1.0)
OJT Duration | 3 months/ 72 Days
Training Outcomes | • Description and Functions of the equipment. • Operation, functioning and clinical application of medical devices • Carry out operational checks on medical devices. • Common Problems and Troubleshooting • Assist in calibration and equipment maintenance. • Provide on and off- site assistance with the functioning of the medical equipment • Preventive Maintenance. • Equipment required for maintenance. • Spare parts to be stocked for replacement.
Name of equipments selected for crash course | 1. Ventilator 2. BIPAP and CPAP 3. Oxygen Equipment (Concentrator & Cylinder) 4. Digital Thermometer (IR) 5. Flowmeter 6. Humidifier 7. Pulse Oximeter 8. Multipara Monitor 9. Nebulizer 10. BP Instrument 11. ECG machine 12. Suction apparatus and its pipelines 13. Steam inhalor 14. Spirometer
S. No. | Activity | OJT Outcomes | NOS Reference | Suggestive Departments/Facilities | Duration (in days)
1 | Basics of COVID | 1. Prevention of COVID 19 and know of covid appropirate behaviour (frequent handwashing and sanitization) 2. Donning and Doffing of PPE 3. Waste Disposal Method 4. Cleaning of spillage 5. Monitoring Vital 6. Identifying and Reporting Symptoms 7. Incident Reporting and Risk management 8. Self-Quarantine and Self Isolation 9. Recognize AEFI (Adverse effects following immunization) of COVID vaccination | HSS/N9622: Follow Sanitization and Infection Control Guidelines | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 2
2 | Different Departments in a Hospital | 1. Orientation to different departments in Hospital 2. Learn about COVID specific care facilities, portals and resources for latest updates about COVID protocols | Bridge Module | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 1
3 | Tools and Equipment specific to related job role | Identify different types of medical instruments and equipment and its components, circuit, cables, connectors, PCB, etc. and the tool kit to be used for its repair and maintenance Orientation to Cold chain management of COVID vaccine | Bridge Module | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 3
7 | Working of Basic equipments | Clinical use and principle of operation of different types and models : Digital Thermometer (IR), BP Instrument, Spirometer | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 3
8 | Working of Basic equipments | Clinical use and principle of operation of different types and models: Flowmeter, Humidifier | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 3
9 | Working of Basic equipments | Clinical use and principle of operation of different types and models: Oxygen Equipment (Concentrator & Cylinder) | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 3
10 | Working of Basic equipments | Clinical use and principle of operation of different types and models: Pulse Oximeter, ECG machine | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 3
11 | Working of Basic equipments | Clinical use and principle of operation of different types and models : Ventilator | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 5
12 | Working of Basic equipments | Clinical use and principle of operation of different types and models : BIPAP and CPAP | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 5
13 | Working of Basic equipments | Clinical use and principle of operation of different types and models : Multipara Monitor | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 5
14 | Working of Basic equipments | Clinical use and principle of operation of different types and models : Nebulizer, Steam Inhaler | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 3
15 | Working of Basic equipments | Clinical use and principle of operation of different types and models : Suction Apparatus and its pipelines | HSS/N5607: Understanding the working of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 6
16 | Testing and maintenance | Hands-on experience in installation, set-up, operation, routine maintenance, internal components and functional verification testing, and demonstration of Cleaning and safety measures, Features and Setup of equipment’s and its routine use to hospital staff: : Digital Thermometer (IR), Pulse Oximeter, Nebulizer, BP Instrument, ECG machine, Spirometer, and Steam Inhaler | HSS/N5608: Calibration and maintenance of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 6
17 | Testing and maintenance | Hands-on experience in installation, set-up, operation, routine maintenance, internal components and functional verification testing, and demonstration of Cleaning and safety measures, Features and Setup of equipment’s and its routine use to hospital staff : Oxygen Equipment (Concentrator & Cylinder), Flowmeter, Humidifier, Suction Apparatus and its pipelines | HSS/N5608: Calibration and maintenance of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 6
18 | Testing and maintenance | Hands-on experience in installation, set-up, operation, routine maintenance, internal components and functional verification testing, and demonstration of Cleaning and safety measures, Features and Setup of equipment’s and its routine use to hospital staff: : Ventilator | HSS/N5608: Calibration and maintenance of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 6
19 | Testing and maintenance | Hands-on experience in installation, set-up, operation, routine maintenance, internal components and functional verification testing, and demonstration of Cleaning and safety measures, Features and Setup of equipment’s and its routine use to hospital staff : BIPAP and CPAP, Multipara Monitor, | HSS/N5608: Calibration and maintenance of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 6
20 | Testing and maintenance | Information to hospital staff about use of equipment  Risk Factor associated with the use of equipment  Complexity  Manufacturer’s instruction and specification  Effective use of instruments | HSS/N5608: Calibration and maintenance of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 2
22 | Testing and maintenance | Demonstration of documentation and recording of equipments to hospital staff with data entry as per protocols  Reading of instrument/equipment  Recording  Record maintenance | HSS/N5608: Calibration and maintenance of basic equipment | hospital Biomedical or Clinical Engineering Department or hospital-based Independent Service Organization | 4